## Sheet1
Factor | Criteria | Comment
Ratio of arterial oxygen tension to fraction of inspired oxygen | PaO2/FiO2 < 150 mmHg | PaO2 Observation (LOINC = 2703-7) FiO2 Observation (LOINC = 19994-3)
Oxyhemoglobin saturation | SpO2 < 90% | SpO2 Observation (LOINC = 2714-4) | SpO2 | by pulse oximeter
Arterial pH | Art pH ≤ 7.25 | Art pH Observation (LOINC =2744-1)
Systolic blood pressure | SBP ≤ 90 mmHg or SBP ≥ 180 mmHg | SysBP Observation (LOINC = 55284-4, 8480-6)
Dopamine | ≥ 5mcg/kg/min of dopamine | MedicationAdministration.medication SNOMED = 162570000 | MedicationAdministration.dosage.dose + MedicationAdminstration.dosage.rate
Rapid Shallow Breathing Index Trial | Respiratory rate / Tidal volume ≥ 105 | Respiratory rate Observation (LOINC = 9279-1), Tidal Volume Observation (LOINC 76221-1)
Hemoglobin level | < 8 mg/dL | Hgb Observation (LOINC =718-7)
Body temperature | > 38.5 oC (101.3 oF) | Temp Observation (LOINC = 8310-5)
A comprehensive protocol for ventilator weaning and extubation: a prospective observational study |  | (start the weaning process)
Heart Rate | > 120
Rapid shallow breathing index | > 100 breath/min/L | Respiratory rate divided by Tidal volume
Respiratory Rate | >35/min for 5 minutes
SpO2 | < 90
Systolic BP | < 90 or >180 mmmHg
chest pain
anxiety, diaphoresis
if they meet at least one of these seven criteria, recheck next day
A Prospective, Controlled Trial of a Protocol-based Strategy to Discontinue Mechanical Ventilation
Unstable coronary artery disease
Heart rate | ≥ 140 bpm
SpO2 | < 92%
PEEP | > 5 cm H2O | Positive end expiratory pressure setting Ventilator LOINC 20077-4
FiO2 | > 0.5
any of this happen, can not proceed
Weaning from mechanical ventilation (instable status)
systolic BP | < 90 or >180 mmmHg
SpO2 FiO2 | PaO2/FiO2 < 150 mmHg
SpO2 | <90%
Respiratory Rate (fR) | > 35
Tidal Volumn (VT) | ≤ 5 mL/kg
fR/VT | ≥105
Use of weaning protocols for reducing duration of mechanical ventilation in critically ill adultpatients: Cochrane systematic review and meta-analysis
Combined
Ratio of arterial oxygen tension to fraction of inspired oxygen | PaO2/FiO2 ≥ 200 mmHg | PaO2 Observation (LOINC = 2703-7) FiO2 Observation (LOINC = 19994-3) | by pulse oximeter |  | concentration of oxygen in the gas mixture
Rapid Shallow Breathing Index Trial | Respiratory rate / Tidal volume ≤ 105 | Respiratory rate Observation (LOINC = 9279-1), Tidal Volume Observation (LOINC 76221-1)
PEEP | ≤ 5 cm H2O | Positive end expiratory pressure setting Ventilator LOINC 20077-4
Respiratory Rate | ≤ 35/min | Respiratory rate Observation (LOINC = 9279-1)
Heart rate | < 140 bpm | LOINC 8867-4
Oxyhemoglobin saturation | SpO2 ≥ 92% | SpO2 Observation (LOINC = 2714-4)
FiO2 | ≤ 0.5 | FiO2 Observation (LOINC = 19994-3)
Hemoglobin level | 80-100 g/L | Hgb Observation (LOINC =718-7)
Systolic blood pressure | 90 mmHg- 180 mmHg | SysBP Observation (LOINC = 55284-4, 8480-6)
Arterial pH | Art pH ≤ 7.25 | Art pH Observation (LOINC =2744-1)
Body temperature | < 37.8 oC (100.04 oF) | Temp Observation (LOINC = 8310-5)