## Sheet1
Project Name: | Ventilator Weaning Asistant System (VWAS)
Created by: | Xu Shi
Date of creation: | 2021-04-19
Date of review: | 2021-04-20
Test Case ID | Test Scenario | Test Case | Test Steps | Expected Result | Actual Result | Status (Pass/Fail)
Data_1 | Verify the communication between the web application and HAPI FHIR Server | Patient ID 2049254 | 1. go to https://hapi.fhir.org/home?serverId=home_r4&pretty=true&_summary= | Observatoin Data of Patient named Carrero892, Ana María762 is loaded in the web application | Data successfully loaded in the web application | Pass
2. Upload the patient and observation JSON files
3. Load the web application
Rule_Based_1 | Check the accuracy of rule based model | Patient ID 2049254 | 1. check the CSV files of the observation | Only Blood Pressure is within the normal range | Only Blood Pressure is within the normal range | Pass
2. Load the clinician view and detailed information of observation
Data_Refresh | Check if new data will be read if different date is selected | Patient ID 2049254 | Under the clinician view and select different date | Correct new observation data will be loaded | Correct new observation data is loaded | Pass